[image: image1.jpg]



SFPD 4.07 (Rev. 07/04)
PLAN SUBMISSION REQUIREMENTS FOR NEW CONSTRUCTION PROJECTS
Education Code Section 17070.50 requires the California Department of Education’s (CDE) review and approval of construction plans for school facilities projects funded by the State Allocation Board (SAB). Construction plans for new school facilities projects that are not funded by the SAB may be submitted to CDE for review and approval. The required forms and instructions necessary for submitting new construction plans to CDE are located in this packet. The various components are listed in the following Contents: 


Contents


I.
California Department of Education Plan Review Requirements for
p. 2

New Construction Projects


II.
Checklist for the Submission of New Construction Plans
p. 3


III.
SFPD 4.07A, Project Information for New Construction
p. 4


IV.
SFPD 4.07B, Local Educational Agency Certifications for New Construction
p. 5


V.
SFPD 4.07C, Summary of Educational Specifications
p. 9

· Instructions

· Part One, Narrative Section

· Part Two, Space Allocation Spreadsheet

· Space Allocation Spreadsheet Sample Form
Submit plans and the required documents to the following address:

California Department of Education

School Facilities Planning Division

1430 N Street, Suite 1201

Sacramento, CA  95814
For more information, visit the School Facilities Planning Division Web site at http://www.cde.ca.gov/ls/fa/index.asp or call (916) 322-2470.

California Department of Education (CDE)

Plan Review Requirements for New Construction

Educational Specifications: California Code of Regulations, Title 5, Section 14010 and good planning practice require the preparation of educational specifications for school plans. The School Facilities Planning Division (SFPD) will review plans for consistency with the local educational agency's (LEAs) educational specifications and with Title 5 standards (Title 5 can be obtained on the Internet at http://www.cde.ca.gov/ls/fa/sf/codes.asp).

The completed educational specifications can be submitted or summarized on the SFPD 4.07C form, Summary of Educational Specifications. The CDE publications Educational Specifications: Linking Design of School Facilities to Educational Program and The Form of Reform: School Facility Design Implications for California Educational Reform can provide LEAs with useful information for the development of educational specifications and can be obtained by calling the SFPD or by gaining access to them through the SFPD Web site at http://www.cde.ca.gov/ls/fa/index.asp.

Preliminary and Final Plans: The submission of schematic or preliminary plans is recommended strongly as CDE may recommend or require changes before final plan approval. For final plan approval, CDE reviews the working drawings. It is not necessary to submit construction specifications. If no changes are made from the preliminary plan submission, LEAs need not submit a second SFPD 4.07C form with the final plans. Indicate in writing that no changes were made when submitting the final plans and submit an updated SFPD 4.07A form and SFPD 4.07B form. At the time that final plans are submitted, the estimated total construction cost, as submitted to the Division of the State Architect, must be included on the SFPD 4.07A form for billing purposes. Complete Form SFPD 4.10, Senate Bill 1795 Joint-Use Projects Eligible Square Footage or Form SFPD 4.11, Senate Bill 15 Joint-Use Projects Eligible Square Footage when submitting for joint-use projects.

Reduced Size Plans: Scaled or dimensioned plans on 11" x 17" paper may be submitted in place of 2A or 3A diagrams.
Project Tracking Number: The project tracking number (PTN) is a unique identifier that links application data used by the SFPD, the Division of the State Architect, and the Office of Public School Construction (OPSC). Plans without a PTN will not be approved by the SFPD. A PTN may be obtained from the OPSC Web site at http://www.opsc.dgs.ca.gov/default.htm or the SFPD Web site.
Department of Toxic Substances Control: New construction project sites are subject to the Department of Toxic Substances Control (DTSC) review procedures if the project: (1) will be state funded under the School Facility Program or is locally funded and the LEA requests a CDE plan approval; and (2) the project is not a minor addition to a school eligible for a statutory or categorical exemption from the California Environmental Quality Act. The LEA's compliance with DTSC requirements is to be identified in Section 1 of the SFPD 4.07B form.

The LEA shall contract with a qualified environmental assessor to prepare a Phase I Environmental Site Assessment (Phase I) in accordance with the Education Code, American Society of Testing and Material (ASTM), and DTSC standards.

· If the Phase I site assessment concludes that no further investigation of the site is needed (with potential exception for lead-based paint or polychlorinated biphenyls [PCBs]), the LEA shall submit the Phase I assessment to DTSC with a check for $1,500 to cover DTSC review costs.

· If the Phase I site assessment or DTSC concludes that further investigation of the site is required and the LEA wishes to pursue the project, the LEA shall enter into an Environmental Oversight Agreement (EOA) with DTSC to oversee the LEA’s Preliminary Endangerment Assessment (PEA). (Do not send this Phase I assessment or a $1,500 check to SFPD.)

· Or with the concurrence of DTSC, the LEA may skip the Phase I assessment and proceed directly with an EOA with DTSC for a PEA.

If the PEA concludes that a response action (hazardous material cleanup) is required and the LEA wishes to pursue the project, the LEA shall enter into a Voluntary Cleanup Agreement (VCA) with DTSC for approval and oversight of the response action.

With some exceptions as noted on the SFPD 4.15 form, CDE final plan approval requires a DTSC letter indicating one of the following: (1) Phase I assessment approval with “no action” or investigation required other than for lead-based paint and/or PCBs; (2) PEA approval with “no further action” or investigation required other than for lead-based paint and/or PCBs; or (3) certified completion of the response action. Phase I site assessments and PEAs should be submitted only with site approval submissions, not plan approval submissions.

See SFPD and DTSC advisories and memos for details at http://www.cde.ca.gov/ls/fa/sf/advisories.asp and http://www.dtsc.ca.gov/Schools/Schools.html (Education Code sections 17210, 17213.1, 17213.2, 17268[c]).

Existing School Safety Certification: The LEA’s review and certification of the California Code of Regulations, Title 5 standards for school sites must be completed for both new construction projects on existing schools and for new construction projects on new or expanded school sites. These standards are listed in Section 3 of the SFPD 4.07B form.
Checklist for the Submission of New Construction Plans

Preliminary Plans Submission

 FORMCHECKBOX 

1.
SFPD 4.07A , Project Information for New Construction, including the project tracking number

 FORMCHECKBOX 

2.
Educational Specifications: The LEA’s Educational Specifications or Form SFPD 4.07C, Summary of Educational Specifications for New Construction

 FORMCHECKBOX 

3.
Preliminary or Schematic Construction Plans:
· Site plan with street designations, parking areas, and topography

· Floor plans with dimensions and spaces labeled

· Elevations – typical interior and exterior elevations

 FORMCHECKBOX 

4.
Reduced Size Plans (see Plan Review Requirements for New Construction):
· Site plan with street designations and parking areas

· Floor plans with dimensions and spaces labeled consistently with plans

· Dimensions and area calculations

Final Plans Submission

 FORMCHECKBOX 

1.
SFPD 4.07A, Project Information for New Construction (updated), including the project tracking number and the construction cost estimate to be submitted to the Division of the State Architect

 FORMCHECKBOX 

2.
SFPD 4.07B, Local Educational Agency Certifications for New Construction (signed and dated)

 FORMCHECKBOX 

3.
Educational Specifications – Updated educational specifications, or updated SFPD 4.07C, Summary of Educational Specifications for New Construction, or a letter indicating that no changes have been made to the educational specifications since the preliminary plan submission

 FORMCHECKBOX 

4.
Final Construction Plans (working drawings):

· Site plan with street designations, parking areas, and topography

· Floor plans with dimensions and spaces labeled

· Elevations – full set of interior and exterior elevations

 FORMCHECKBOX 

5.
Reduced Size Plans (see Plan Review Requirements for New Construction):
· Site plan with street designations and parking areas

· Floor plans with dimensions and spaces labeled consistently with plans

· Dimensions and area calculations

 FORMCHECKBOX 

6.
Department of Toxic Substances Control (DTSC) Determination

DTSC determination letter approving the Phase I site assessment, PEA, or response action, and if applicable, the LEA's commitment on the SFPD 4.14 form for lead-based paint or PCBs, or the SFPD 4.15 form for LEAs seeking final CDE approval before completing a required response action (see the SFPD 4.07B form, Section 1)

SFPD 4.07A  (Rev. 07/04)
Project Information for New Construction
	
	Local Educational Agency (LEA)

Information

	Project Tracking #
	6
	3
	3
	2
	1
	―
	1
	7
	 
	 

	LEA
	Bakersfield City School District

	School Name
	Chavez Elementary School

	
	LEA Contact

	Name
	Ruben Solis - Director of Facilities

	Phone
	661-631-5885

	Fax
	661-631-4501

	E-mail
	solisru@bcsd.com

	
	Architect Contact

	Contact Name
	Stephen J. Corbin

	Firm Name
	SCArchitect

	Mailing Address
	1601 New Stine - Suite 280

	
	Bakersfield, Ca. 93309

	Phone
	661-397-4377

	Fax
	661-397-4378

	E-mail
	scorbin@scarchitect.com





	Project Information

	Plans are submitted for   FORMCHECKBOX 
 Preliminary Review      FORMCHECKBOX 
 Final Approval

	

	Grade Levels
	K-6
	Grades in Class Size Reduction
	K-3

	Master Plan Site Capacity
	     
	Project Capacity (this phase)
	100

	Total Number of Teaching Stations
	4*
	

	

	Project Area (square feet minus joint-use square feet)
	4800
	

	Joint-Use Project Area (square feet)
	0
	

	Total All Project Area (square feet)
	4800
	

	Site Acreage

	Gross
	12.41
	Net
	9.47
	Additional Joint-Use Acres
	0

	

	Does the LEA plan to operate the school on a multitrack year-round education (MTYRE) schedule?

 FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No

	Number of MTYRE Tracks
	     
	

	

	Construction Cost Estimate
	225,000.00
	

	

	For charter schools only

	
	 FORMCHECKBOX 
 The LEA is filing on behalf of the charter school.

	or
	 FORMCHECKBOX 
 The charter school filed on its own behalf for an Assembly Bill 14 preliminary apportionment.

	

	For joint-use only (choose one)   FORMCHECKBOX 
 Type I     FORMCHECKBOX 
 Type II 


SFPD 4.07B (Rev. 07/04)
Local Educational Agency Certifications for New Construction

(For Final Plans Only)

	County
	Project Tracking Number

	Kern
	6
	3
	3
	2
	1
	―
	1
	7
	 
	 

	Local Educational Agency
	School

	Bakersfield City School District
	Chavez Elementary School


1. Department of Toxic Substances Control (DTSC) Determination: Per Education Code sections 17210, 17213.1, 17213.2, 17268(c); Public Resources Code sections 21083 and 21084; California Environmental Quality Act (CEQA) Guidelines (California Code of Regulations, Title 14) sections 15062, 15260, 15300 et seq.

(Check one and fill in dates as applicable.)
The local educational agency (LEA) has:

 FORMCHECKBOX 
 A.
determined that this project is a minor addition to a school that is eligible for a statutory or categorical exemption from CEQA (see Section 2 below). Per the Education Code, the completion of a Phase I Environmental Site Assessment (Phase I) or a Preliminary Endangerment Assessment (PEA) and a review and approval by DTSC are not required for this project; or

The Department of Toxic Substances Control has approved a:

 FORMCHECKBOX 

Phase I Environmental Site Assessment (Phase I) and determined on 
     
 (date) that:

 FORMCHECKBOX 
 B.
“no action” (i.e., no further investigation) is required for this site; or

 FORMCHECKBOX 
 C.
lead-based paint and/or PCBs are the only potentially hazardous material issues on this site requiring further investigation or response action. The LEA has committed in a letter to the CDE on 
     
 (date) to conduct all such investigations or response activities under DTSC guidance; or
 FORMCHECKBOX 

Preliminary Endangerment Assessment (PEA) on 
     
 (date) and determined that:

 FORMCHECKBOX 
 D.
“no further action” (i.e., no further investigation) is required for this site; or

 FORMCHECKBOX 
 E.
lead-based paint and/or PCBs are the only potentially hazardous material issues on this site requiring further investigation or response action. The LEA has committed on the SFPD 4.14 form on 
     

(date) to conduct all such investigations or response activities under DTSC guidance; or

 FORMCHECKBOX 
 F.
the required response action(s) must be implemented in the design and construction of the project. The DTSC does not object to the CDE's issuing final approval, and the LEA has committed on the SFPD 4.15 form on 
     
 (date) to conduct all such response activities under DTSC guidance and School Cleanup Agreement; or

 FORMCHECKBOX 
 G.
the required response action(s) and proposed project construction activity are on different portions of the fully characterized site and will not negatively affect each other, and conditions will not pose a significant threat to workers. The DTSC does not object to the CDE's issuing final approval, and the LEA has committed on the SFPD 4.15 form on 
     
 (date) to conduct all such response actions under DTSC guidance and School Cleanup Agreement; or

 FORMCHECKBOX 
 H.
 a plan to cleanup or remediate hazardous materials (response action) has been approved for this site. The DTSC does not object to the CDE's issuing final approval, and the LEA has committed on the SFPD 4.15 form on 
     
 (date) to conduct all such response actions under DTSC guidance and School Cleanup Agreement; or

 FORMCHECKBOX 
 I. 
on 
     
 (date), the required response action(s) (or further investigation) for this site have been completed, and no further action is necessary

SFPD 4.07B (Rev. 07/04)
2. California Environmental Quality Act (CEQA) Compliance: Per Public Resources Code sections 21000 et seq.; CEQA Guidelines sections 15000 et seq.

(Check one and fill in dates as applicable.)

The LEA certifies that it has completed for this project all actions required pursuant to CEQA and determined this project to be:

 FORMCHECKBOX 
  A.
not a project for purposes of CEQA and that no CEQA action is required; or
 FORMCHECKBOX 
  B.
completely exempt from the preparation of CEQA environmental documents either by statutory, categorical, or general rule exemption; or
 FORMCHECKBOX 
  C.
fully covered in a Negative Declaration/Initial Study adopted by the LEA; or
 FORMCHECKBOX 
  D.
fully covered in a Final Environmental Impact Report (EIR) adopted and certified by the LEA; or
 FORMCHECKBOX 
  E.
fully covered within another lead agency’s adopted CEQA document, and if necessary, the LEA has adopted a finding of no new impact.

If applicable

Date the Final Environmental Impact Report or Negative Declaration was adopted: 
     


Date the project was approved by the LEA governing board: 
3-23-99 and 4-24-01


Date the Notice of Exemption or Notice of Determination was filed with the County Clerk: 
3-30-04


3. Existing School Site Certification

For LEAs constructing additional buildings or replacing existing buildings on an existing school site, the LEA must certify the review of the following California Code of Regulations,Title 5 standards for this school construction/replacement project and that the project will not create any new significant safety hazards or exacerbate any existing safety hazards to students.

California Code of Regulations, Title 5, Section 14010:
(c) Powerlines/Electromagnetic fields

(d) Within 1,500 feet of a railroad

(e) Traffic noise

(f) Active fault or fault trace

(g) Flood or inundation area

(h) Near an above ground water or fuel storage tank or within 1,500 feet of a pipeline, which can pose a safety hazard

(i) Liquefaction/Landslides

(l)
Traffic/Pedestrian safety

(m)
Compatible existing and proposed surrounding land uses

(q)
Exposure to adverse light, wind, and air pollution

(r)
Easements restricting access or building placement

(t)
Within 2,000 feet of a significant disposal of hazardous waste

4. Classroom Telephones and Public Safety: Per Education Code sections 17077.10 and 17096

For permanent or portable classrooms in this project, the LEA has complied with Education Code sections 17077.10 and 17096 by providing a telephone in each classroom that is a hard-wired or wireless connection to a public-switched telephone network.

(Check one)

 FORMCHECKBOX 
  Yes

 FORMCHECKBOX 
  No

 FORMCHECKBOX 
  Not applicable, since there are no new classrooms in the project

SFPD 4.07B (Rev. 07/04)
5. Urban/Security/Impacted Site

For LEAs requesting additional funding pursuant to State Allocation Board (SAB) Regulation Section 1859.83(d), the CDE must certify to the SAB that the site size is 60% or less of the CDE-recommended site size based on the current California Basic Educational Data System (CBEDS) enrollment of the site and the number of students to be added to the site by this project as calculated in Education Code Section 17071.25(a)(2).

To request this increase, please complete Sections A and B below, and the CDE will compute the percent of the CDE-recommended site size and report this figure in the final plan approval letter for the project.

A. Usable Site Acres (is the sum of the following):

	1)
	9.47
	Usable acres of existing school site: Exclude any portion of the project site that CDE has found to be unusable for school purposes, including but not limited to easements, steep terrain, and designated wetlands.

	
	
	

	2)
	0
	Joint-use acres if the LEA has title to the property or signed a joint-use agreement with another public agency.

	
	
	

	3)
	0
	Usable acres to be added to the existing site: Indicate net usable acres to be added to this site as a part of a School Facility Program Application and CDE site approval.

	
	
	

	
	9.47
	TOTAL USABLE ACRES


B.
Site Capacity:
Does the school operate on a multitrack year-round education calendar?   FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No

If yes, enter the maximum enrollment on the site at one time (State Allocation Board Regulation Section 1859.2).*

Does the school operate single-session or double-session kindergarten classes?   FORMCHECKBOX 
 Single     FORMCHECKBOX 
 Double

For middle schools, does the educational program require football and track facilities?   FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No

For high schools, does the educational program require:

1) Swimming pool?
 FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No

2) Diving pool?
 FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No

3) Baseball field, including bleachers and dugouts?
 FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No

4) Football field and track, including a stadium?
 FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No
(LEA completion)
	Grades
	Kinder.
	1 – 3
	4 – 6
	7 – 8
	9 – 12
	Special Ed.

Nonsevere
	Special Ed.

Severe
	Total

	*Current CBEDS Enrollment of School
(as adjusted for MTYRE if applicable)
	64
	181
	148
	0
	0
	4
	7
	404

	
	(CDE use only)

	Net Capacity Added by This Project

SAB Regulations sections 1859-1883(d)

Education Code Section 17071.25(a)(2)
	
	
	
	
	
	
	
	

	Nonsevere Special Education/

Severe Special Education Students
	
	
	
	
	
	
	
	

	Total Enrollment of School
	
	
	
	
	
	
	
	

	**CDE-Recommended Acres
	
	
	
	
	
	
	
	

	**Based on the Guide to School Site Analysis and Development, 2000 Edition
	Net Usable Acres as a Percent of

CDE-Recommended Acres
	


SFPD 4.07B (Rev. 07/04)

6.
Multistory Construction Allowance and Site Development Allowance

A new construction project may be eligible to receive additional funding for site development. In addition, State Allocation Board Regulation sections 1859.73 and 1859.76(a)(11) provide additional funding for the construction of multistory school buildings and/or parking structures.

NOTE: These allowances are made in addition to funds provided for Excessive Cost Due to Urban Location, Security Requirements, and Impacted Site (State Allocation Board Regulation Section 1859.73[d]). Contact the Office of Public School Construction for additional information.

Report the master plan capacity of the total site for the grade levels served at the site. Classrooms (including portables) should be counted pursuant to State Allocation Board Regulation sections 1859.31 and 1859.32, unless CDE determines otherwise.

Does the school operate on a multitrack year-round education calendar?   FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No

If yes, enter the maximum enrollment on the site at one time (State Allocation Board Regulation Section 1859.2). *

	Grades
	Kinder.
	1 – 3
	4 – 6
	7 – 8
	9 – 12
	Special Ed.

Nonsevere
	Special Ed.

Severe
	Total

	*Master Plan Site Capacity (Students)
	     
	     
	     
	     
	     
	     
	     
	     


Indicate whether state or district loading standards were used to determine site capacity:

 FORMCHECKBOX 
  State Standards (Grades K – 6 at 25, Grades 7 – 12 at 27, Severe Special Day Class (SDC) at 9, Nonsevere SDC at 13)

 FORMCHECKBOX 
  District Loading Standards

Does the school operate single-session or double-session kindergarten classes?   FORMCHECKBOX 
 Single     FORMCHECKBOX 
 Double

(CDE will calculate the recommended acres on the basis of 20 students for a single-session and 40 students for a double-session.)

For middle schools, does the educational program require football and track facilities?   FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No

For high schools, does the educational program require:

1) Swimming pool?
 FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No

2) Diving pool?
 FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No

3) Baseball field, including bleachers and dugouts?
 FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No

4) Football field and track, including a stadium?
 FORMCHECKBOX 
 Yes     FORMCHECKBOX 
 No
	
	(CDE use only)



	Grades
	Kinder.
	1 – 3
	4 – 6
	7 – 8
	9 – 12
	Special Ed.

Nonsevere
	Special Ed.

Severe
	TOTAL

	**CDE-Recommended Acres
	
	
	
	
	
	
	
	

	**Based on the Guide to School Site Analysis and Development, 2000 Edition
	Net Usable Acres as a Percent of 

CDE-Recommended Acres Based on Master Plan
	


I certify, as the local educational agency representative, that the information reported on this form is true and correct and that the above named local educational agency has reviewed the California Code of Regulations, Title 5 standards, cited in Section 3 herein, for this school construction/replacement project and has determined that the project will not create any new significant safety hazards or exacerbate any existing safety hazards to students.

If a different California Environmental Quality Act process is pursued subsequent to this certification, the local educational agency shall notify immediately the School Facilities Planning Division and the Office of Public School Construction.
	Ruben Solis
	
	Director of Facilities

	Name of Authorized Local Educational Agency Representative
	
	Title

	
	
	     

	Signature of Authorized Local Educational Agency Representative
	
	Date


SFPD 4.07 C, PART ONE  (Rev. 07/04)
Summary of Educational Specifications

Requirements

Per California Code of Regulations, Title 5, Section 14001(a), LEAs are required to develop educational specifications that establish criteria for the development of preliminary and final plans for new school construction. To meet this requirement, LEAs may submit the complete educational specifications developed for the project or provide a summary of the critical components of the educational specifications, per Title 5, Section 14030(a), as follows:

1. Enrollment of the school and the grade level configuration

2. Emphasis in curriculum content or teaching methodology that influences school design

3. Type, number, size, function, and special characteristics of each space and spatial relationships of the instructional area that are consistent with the educational program

4. Community uses that may affect the school design

Purpose

The purpose of educational specifications is to provide guidelines for developing a school design on the basis of a planned educational program. By using the educational specifications that are developed by the LEA, the architect can then design a facility that reinforces the needs and goals of the educational program.

The CDE will use the educational specifications to evaluate new construction plans to ensure that the school is designed for the planned student capacity and the educational program. The SFPD 4.07C form, Part One, is intended to provide a format for describing teaching stations that are appropriate for the planned instructional activity, particularly when the educational program and classroom function clearly warrant classroom sizes other than the standard 960 square feet. Educational specifications should also identify how the curriculum will be supported and/or delivered through the use of technology.

Instructions

1.
Proposed Enrollment and Grade Configuration: Provide the proposed enrollment and grade levels to be served at the school.

2. Curriculum Content or Teaching Methodology:

· Educational Philosophy, Curriculum Content, Teaching Methodologies, Conceptual Themes – Briefly state the educational philosophy, curriculum content, and/or teaching methodologies that link the design features of this project to the educational program. State whether there are any conceptual themes that affect the design of the school.

· Teaching Stations – In a general sense, describe the activities and functions that will take place in the teaching stations. Include a description of how special education students will be served at the school. Teaching stations are defined as spaces in which instruction by teachers takes place and where students are assigned and are counted for the purpose of determining the project’s enrollment capacity. All other spaces are considered support to the instructional program and are not counted for capacity. A general classroom, grades one through twelve, is defined as not less than 960 square feet, regardless of the number of students assigned to the class. Relative to this standard, clearly describe the functions of a smaller or larger classroom to justify it as a "teaching station" space.

Examples of the types of activities that take place in teaching stations:

Standard Teaching Stations (standard classrooms): class lectures, activities that makes use of reading areas, special education classes, independent study that makes use of technology learning centers within classrooms

Small Group Instruction/Support Spaces (nonteaching stations): small group activities, pullout instructional programs, group counseling, classes in English as a second language and remedial reading, Resource Specialist Programs, speech classes

Large Teaching Stations: large group lectures, video presentations, hands-on activities

Laboratories: hands-on experiments, projects

SFPD 4.07 C, PART ONE (Rev. 07/04)
3.
Special Characteristics and Spatial Relationships:
· Functional Relationship and Design Type – Describe in general the functional relationships of the various spaces to each other. Simple diagrams may be used to depict this component (e.g., bubble diagrams) or reference to construction plans. In addition, describe the design type (e.g., cluster, single corridor, radial) and how this design complements the educational program.

Example:

The media center is centrally located for easy access to classrooms. Restrooms are located within each cluster of classrooms for better supervision and accessibility to classrooms. A multipurpose room is located near parking and utility driveways for community use and safety in deliveries.

· Technological Features – Indicate whether the technology features are contained in an educational technology laboratory and/or the technology equipment is dispersed throughout the school. Describe how educational technology hardware will be used within the overall instructional program.

Example:

(Dispersed) Each classroom will have a "smart wall" containing a video monitor, screen display, and terminal area that will be networked to the media center to augment selected curricular areas. Each teaching station will have a teacher terminal networked to the office for attendance accounting, lunch counts, and lesson plans.

(Centralized) A technology laboratory will provide individual terminals for programmed instruction in math and reading.

· Topographical/Site Features – Describe any topographical or site constraints that affect the school design.

Example:

Because of a twelve-foot change in elevation, entrances will be in two locations. One entrance will be located in the bus loading area and the other in the playing field area. An elongated site requires a split play yard.

· Student and Staff Safety Considerations – Describe student and staff safety and security features related to the overall campus plan.

Example:

Bus loading and unloading are separated from parent loading and unloading. Crosswalk markings and speed bumps are provided when foot traffic crosses the bus area. A security fence surrounds the urban campus with a controlled entrance for visitors.

4.
Proposed Community Uses and Their Affects on the Design of the School: Describe the type of community functions that affect the design.

Example:

Access to the multipurpose room will be made available from the visitor parking lot for off-hour use. The remaining campus can be secured during off-hours.

· Senate Bill 15 Joint-Use Component – Describe how this project meets the criteria of Senate Bill 15 Type I or Type II projects, and describe the nature of the project and to who the project will serve.

SFPD 4.07C, PART ONE (Rev. 07/04)
Summary of Educational Specifications

	County
	Project Tracking Number

	Kern
	6
	3
	3
	2
	1
	―
	1
	7
	 
	 

	Local Educational Agency
	School

	Bakersfield City School District
	Chavez Elementary

	1.
	Proposed Enrollment:
	     
	Grade Levels:
	K-6

	2.
	Curriculum Content or Teaching Methodology

	
	· Educational Philosophy, Curriculum Content, Teaching Methodologies, Conceptual Themes – Describe the educational philosophy, curriculum content, and teaching methodologies that influence the design of the school. Are there any conceptual themes that affect the design of the school?

	
	Grade levels are in close proximity to one another to facilitate teacher planning and collaboration. Students are able to move to other classrooms within a grade level which allows for cooperative grouping enabling small group instruction. Teachers have areas available for small group(s) to gather.

All classrooms have sufficient drops to accommodate a 1:7 computer-to-student ratio. 


	
	· Teaching Stations – In general, describe the activities and functions that will take place in the teaching stations. Include a description of how special education students will be served at the school. If science laboratories are included in the project, indicate if caustic and/or corrosive chemicals will be used.

	
	All students, including special education, are served using small group instruction and have easy access to their work stations.  

Students using the library have easy access to library materials and work areas. Teachers and Library aides work with classes as a large group to provide instruction. Technology stations are in the classrooms and library to enable students to research and receive computer assisted individualized instruction.


	3.
	Special Characteristics and Spatial Relationships

	
	· Functional Relationship and Design Type – Describe in general the functional relationship of the various spaces to each other and describe the design type.

	
	Each grade level is located in common areas of each campus.

	
	· Technological Features – Indicate whether the technology features are contained in an educational laboratory and/or the technology equipment is dispersed throughout the school and describe how hardware will be used within the overall instructional program.

	
	In addition to a computer lab, the technology equipment is dispersed throughout the school.  The hardware will be used for the students, teachers, and parents to utilize the internet to access the district's information and perform research. 

	
	· Topographical and Site Features – Describe any topographical or site constraints that affect the school design.

	
	Site is basically flat with very little pedestrian impediments. Ramps are provided to buildings with raised floors above grade level.

	
	· Student and Staff Safety Considerations – Describe student safety and security features related to the overall campus plan.

	
	Campus is secured by fencing at perimeter of entire student play yards and fields. Visitors must enter office prior to coming on main campus.

	4.
	Proposed Community Uses and Their Affects on the Design of the School

	
	· Describe any proposed community functions and their affects on the design.

	
	Computers with internet access are available for parents to use when they visit the school. 


SFPD 4.07C, PART TWO (Rev. 07/04)
Space Allocation Spreadsheet
Use this spreadsheet to identify the relationships between the educational program and the space allocations, to ensure there is sufficient capacity to house the planned enrollment, and to provide space to support the educational program. The spaces intended for instruction will be designated as "teaching stations." A teaching station is defined as an instructional space that has a teacher and students assigned per the LEA teacher-pupil ratio policy and that will be counted for purposes of capacity (e.g., standard classrooms, special day classes [SDCs]).

Column A
Building Identification: Indicate the building identification by letter, number, or name.

Column B
Number of Spaces: Indicate the number of spaces described on one line.

· Teaching stations that have the same size and loading standard may be grouped on one line.

· Nonteaching stations – Count the main space to be used by students.

Column C
Type of Space: Label the type of space provided in each building (consistent with the plans).

· Teaching stations – Teaching spaces will have a teacher and students assigned per the LEA teacher-pupil ratio policy and are counted for purposes of capacity. Include all the teaching stations (e.g., standard classrooms, SDCs). Indicate if kindergarten classes are single-session or double-session.

· Nonteaching stations – Include all nonteaching stations that house students on a regular basis (e.g., multipurpose room, library). Although instruction occurs in small group instruction and physical education classrooms, these spaces are not loaded for capacity purposes.

· Other areas – It is not necessary to include areas that do not house students on a regular basis (e.g., administration, restrooms, janitorial space, storage, and mechanical) unless this document is submitted in lieu of the 2A or 3A diagrams.
Column D
Grade Level: Indicate the grade levels or range of grades that will use the space.
Column E
Educational Program Description:
· Teaching stations – Provide a description of the curriculum and/or activities for each teaching station. Indicate if there are any nontraditional teaching methods used in the classroom (e.g., team teaching, collaborative group). Indicate if spaces have any special features (e.g., learning walls, technology, etc.).

· Nonteaching stations – Describe the planned activities, any special features of the building, and any planned community use.

Column F
Teaching Stations, Small Group Instruction, and Nonteaching Stations: Indicate whether the space is a teaching station (e.g., standard classrooms, SDC) or a nonteaching station (e.g., small group instruction, physical education classroom, library, multiuse).

Column G
Loading Standard: Indicate the district loading standard for the type of teaching station listed.

Column H
Teaching Station Capacity: Indicate the total enrollment capacity for the listed teaching stations.

Column I
Nonteaching Station Capacity: Small group instruction rooms will generally not be loaded. For auxiliary facilities, such as libraries, gymnasiums, and shower lockers, indicate the maximum capacity for the main area that will be used by students.

Column J
Square Foot Area:

· Teaching stations – Indicate the square foot area for the individual space.

· Nonteaching stations – Indicate the square foot area for the main space that will be used by students.

SFPD 4.07C, PART TWO (Rev. 07/04)
Space Allocation Spreadsheet

	County
	Project Tracking Number

	Kern
	6
	3
	3
	2
	1
	―
	1
	7
	 
	 

	Local Educational Agency
	School

	Bakersfield City School District
	Chavez Elementary


1. Teaching Stations: Include all teaching stations (TS) where instruction occurs and are loaded for capacity purposes. Use district loading standards for capacity. Teaching stations with the same size and loading standard may be grouped on one line. Indicate whether kindergarten classes are single-session or double-session.
2. Nonteaching Stations: Include all nonteaching stations (NTS) that house students on a regular basis (e.g., multipurpose room, library). Although instruction occurs in small group instruction and physical education classrooms, those areas are not loaded for capacity purposes.
3. Other Areas: It is not necessary to include areas that do not house students on a regular basis (e.g., administration, janitorial space, storage, and mechanical, unless this document is being submitted as part of the 2As or 3As).
	A
	B
	C
	D
	E
	F
	G
	H
	I
	J

	Building

ID
	No. of Spaces
	Type of Space
	Grade

Level
	Educational Program Description

Describe Curriculum and Program Activities
	TS/

NTS
	Loading

Standard
	TS

Capacity
	NTS

Capacity
	Square Feet per Space

	R10 & R13
	2
	Classrooms
	Spec. Ed.
	Special Ed. Instruction
	TS
	10
	20
	-
	1440

	R11
	1
	Reading
	-
	Reading
	NTS
	48
	-
	48
	960

	R12
	1
	Classroom
	K
	Typical Classroom Instruction
	TS
	20
	20
	-
	960

	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	     
	     
	     
	     
	     
	     
	     
	     
	     
	     

	Attach additional sheets if necessary

	Design Capacity of Teaching Stations

(Total of Column H)
	40
	
	


I certify that the above named local educational agency has reviewed the above Title 5 standards for this school construction project and has determined that the project will not create any new significant safety hazards or exacerbate any existing safety hazards to students. Local educational agencies are to certify compliance with the California Environmental Quality Act for this project on the SFPD 4.07B form.

	Ruben Solis
	
	Facilities Director

	Name of Authorized Local Educational Agency Representative
	
	Title

	
	
	     

	Signature of Authorized Local Educational Agency Representative
	
	Date

	661-631-5885
	
	solisru@bcsd.com

	Telephone Number
	
	E-mail


CALIFORNIA DEPARTMENT OF EDUCATION


SCHOOL FACILITIES PLANNING DIVISION














SFPD 4.07 Series (Rev. 07/04) – Page 13 of 13

