[image: image1.wmf][image: image2.png]



August 9, 2005
To:

Michael Elliott Construction


15948 Shellie Marie Ave.



Bakersfield, Ca. 93312

Re:
Chavez Relos – Phase II
I recently visited the site to review the ramp and landing rails.

Unfortunately the workmanship is very poor and we will not accept this work. 
Please note the following:

1. Cut and remove the entire ramp and landing rails (including vertical supports) assembly on both sides and at the top door landing. Leave at least 1” of vertical material so that new rails can slide into and be welded to the vertical portions.

2. Remove lower vertical rail at ramp bottom landing to allow for equal spacing of the vertical rails. Please note these were not placed in equal spaces based on our discussion prior to placement of the concrete. 
3. New rail assembly should be constructed of 1.1/2” outside diameter pipe. 
Please direct any questions to myself at 661-631-5885.

Sincerely:

______________________________

Robert Van Tassel

Supervisor:
School Planning &[image: image3.png]


 Construction

vantasselr@bcsd.k12.ca.us

Maintenance and Operations

Mike Taylor, Director

1501 Feliz Dr.

Bakersfield CA. 93307
� EMBED MS_ClipArt_Gallery  ���








Bakersfield City School District


School Planning & Construction











� EMBED Word.Picture.8  ���











[image: image4.wmf]_1007274439

_957082646.doc
[image: image1.png]






