[image: image1.wmf][image: image2.png]



July 7, 2005
To:
Concrete Contractors
Re:
Chavez Relo – Ramp
Please note the following:
1. Ramps shall have the rails and cans on each side of ramp. Maintain min 5’-7” clear inside for lower rail. 27” high Rails may be located within same plane as top rail rather than on outer edges of rails. Rails to be galvanized as indicated but not to be painted. All welded joints to be field applied galvanized coating after installation.

2. All new concrete to have 2” of sand and poly.

3. Bottom wheelchair guide to be 2” x ¼” thick material.

Please direct any questions to myself at 661-631-5885.

Sincerely:

______________________________

Robert Van Tassel

Supervisor:
School Planning &[image: image3.png]


 Construction

vantasselr@bcsd.com

Facilities
Ruben Solis, Director

1501 Feliz Dr.

Bakersfield CA. 93307
� EMBED MS_ClipArt_Gallery  ���








Bakersfield City School District


Facilities











� EMBED Word.Picture.8  ���











[image: image4.wmf]_1007274439

_957082646.doc
[image: image1.png]






