DOCUMENT 01 78 23

OPERATION AND MAINTENANCE DATA

1. – GENERAL
   1. RELATED DOCUMENTS AND PROVISIONS:

All Contract Documents should be reviewed for applicable provisions related to the provisions in this document, including without limitation:

* + 1. General Conditions, including, without limitation, Completion of the Work;
    2. Special Conditions.
  1. QUALITY ASSURANCE:

Contractor shall prepare instructions and data by personnel experienced in maintenance and operation of described products.

* 1. FORMAT:
     1. Contractor shall prepare data in the form of an instructional manual entitled “OPERATIONS AND MAINTENANCE MANUAL & INSTRUCTIONS” (“Manual”).
     2. Binders: Contractor shall use commercial quality, 8-1/2 by 11 inch, three-side rings, with durable plastic covers; two inch maximum ring size. When multiple binders are used, Contractor shall correlate data into related consistent groupings.
     3. Cover: Contractor shall identify each binder with typed or printed title "OPERATION AND MAINTENANCE MANUAL & INSTRUCTIONS"; and shall list title of Project and identify subject matter of contents.
     4. Contractor shall arrange content by systems process flow under section numbers and sequence of Table of Contents of the Contract Documents.
     5. Contractor shall provide tabbed fly leaf for each separate product and system, with typed description of product and major component parts of equipment.
     6. Text: The content shall include Manufacturer's printed data, or typewritten data on 24 pound paper.
     7. Drawings: Contractor shall provide with reinforced punched binder tab and shall bind in with text; folding larger drawings to size of text pages.
  2. CONTENTS, EACH VOLUME:
     1. Table of Contents: Contractor shall provide title of Project; names, addresses, and telephone numbers of the Architect, any engineers, subconsultants, Subcontractor(s), and Contractor with name of responsible parties; and schedule of products and systems, indexed to content of the volume.
     2. For Each Product or System: Contractor shall list names, addresses, and telephone numbers of Subcontractor(s) and suppliers, including local source of supplies and replacement parts.
     3. Product Data: Contractor shall mark each sheet to clearly identify specific products and component parts, and data applicable to installation. Delete inapplicable information.
     4. Drawings: Contractor shall supplement product data to illustrate relations of component parts of equipment and systems, to show control and flow diagrams. Contractor shall not use Project Record Documents as maintenance drawings.
     5. Text: Contractor shall include any and all information as required to supplement product data. Contractor shall provide logical sequence of instructions for each procedure, incorporating manufacturer's instructions.
     6. Warranties and Bonds: Contractor shall bind in one copy of each.
  3. MANUAL FOR MATERIALS AND FINISHES:
     1. Building Products, Applied Materials, and Finishes: Contractor shall include product data, with catalog number, size, composition, and color and texture designations. Contractor shall provide information for re-ordering custom manufactured products.
     2. Instructions for Care and Maintenance: Contractor shall include Manufacturer's recommendations for cleaning agents and methods, precautions against detrimental agents and methods, and recommended schedule for cleaning and maintenance.
     3. Moisture Protection and Weather Exposed Products: Contractor shall include product data listing applicable reference standards, chemical composition, and details of installation. Contractor shall provide recommendations for inspections, maintenance, and repair.
     4. Additional Requirements: Contractor shall include all additional requirements as specified in the Specifications.
     5. Contractor shall provide a listing in Table of Contents for design data, with tabbed fly sheet and space for insertion of data.
  4. MANUAL FOR EQUIPMENT AND SYSTEMS:
     1. Each Item of Equipment and Each System: Contractor shall include description of unit or system, and component parts and identify function, normal operating characteristics, and limiting conditions. Contractor shall include performance curves, with engineering data and tests, and complete nomenclature, and commercial number of replaceable parts.
     2. Panelboard Circuit Directories: Contractor shall provide electrical service characteristics, controls, and communications.
     3. Contractor shall include color coded wiring diagrams as installed.
     4. Operating Procedures: Contractor shall include start-up, break-in, and routine normal operating instructions and sequences. Contractor shall include regulation, control, stopping, shut-down, and emergency instructions. Contractor shall include summer, winter, and any special operating instructions.
     5. Maintenance Requirements: Contractor shall include routine procedures and guide for trouble-shooting; disassembly, repair, and reassembly instructions; and alignment, adjusting, balancing, and checking instructions.
     6. Contractor shall provide servicing and lubrication schedule, and list of lubricants required.
     7. Contractor shall include manufacturer's printed operation and maintenance instructions.
     8. Contractor shall include sequence of operation by controls manufacturer.
     9. Contractor shall provide original manufacturer's parts list, illustrations, assembly drawings, and diagrams required for maintenance.
     10. Contractor shall provide control diagrams by controls manufacturer as installed.
     11. Contractor shall provide Contractor's coordination drawings, with color coded piping diagrams as installed.
     12. Contractor shall provide charts of valve tag numbers, with location and function of each valve, keyed to flow and control diagrams.
     13. Contractor shall provide list of original manufacturer's spare parts, current prices, and recommended quantities to be maintained in storage.
     14. Additional Requirements: Contractor shall include all additional requirements as specified in Specification(s).
     15. Contractor shall provide a listing in Table of Contents for design data, with tabbed fly sheet and space for insertion of data.
  5. SUBMITTAL:
     1. Contractor shall submit to the District for review two (2) copies of preliminary draft or proposed formats and outlines of the contents of the Manual within thirty (30) days of Contractor’s start of Work.
     2. For equipment, or component parts of equipment put into service during construction and to be operated by District, Contractor shall submit draft content for that portion of the Manual within ten (10) days after acceptance of that equipment or component.
     3. Contractor shall submit two (2) copies of a complete Manual in final form prior to final Application for Payment. Copy will be returned with Architect/Engineer comments. Contractor must revise the content of the Manual as required by District prior to District's approval of Contractor’s final Application for Payment.
     4. Contractor must submit two (2) copies of revised Manual in final form within ten (10) days after final inspection.

1. – PRODUCTS Not Used.
2. – EXECUTION Not Used.

END OF DOCUMENT