DOCUMENT 01 71 23

# FIELD ENGINEERING

- GENERAL

RELATED DOCUMENTS AND PROVISIONS:

All Contract Documents should be reviewed for applicable provisions related to the provisions in this document, including without limitation:

General Conditions, including, without limitation, Site Investigation, and Soils Investigation Report;

Special Conditions;

Site-Visit Certification.

REQUIREMENTS INCLUDED:

Contractor shall provide and pay for field engineering services by a California-registered engineer, required for the project, including, without limitations:

Survey work required in execution of the Project.

Civil or other professional engineering services specified, or required to execute Contractor's construction methods.

QUALIFICATIONS OF SURVEYOR OR ENGINEERS:

Contractor shall only use a qualified licensed engineer or registered land surveyor, to whom District makes no objection.

SURVEY REFERENCE POINTS:

Existing basic horizontal and vertical control points for the Project are those designated on the Drawings.

Contractor shall locate and protect control points prior to starting Site Work and preserve all permanent reference points during construction.  In addition Contractor shall:

Make no changes or relocation without prior written notice to District and Architect.

Report to District and Architect when any reference point is lost or destroyed, or requires relocation because of necessary changes in grades or locations.

Require surveyor to replace Project control points based on original survey control that may be lost or destroyed.

RECORDS:

Contractor shall maintain a complete, accurate log of all control and survey work as it progresses.

SUBMITTALS:

Contractor shall submit name and address of Surveyor and Professional Engineer to District and Architect prior to its/their work on the Project.

On request of District and Architect, Contractor shall submit documentation to verify accuracy of field engineering work, at no additional cost to the District.

Contractor shall submit a certificate signed by registered engineer or surveyor certifying that elevations and locations of improvements are in conformance or nonconformance with Contract Documents.

– PRODUCTS Not Used.

– EXECUTION

COMPLIANCE WITH LAWS:

Contractor is responsible for meeting all applicable codes, OSHA, safety and shoring requirements.

NONCONFORMING WORK:

Contractor is responsible for any re-surveying required by correction of nonconforming work.

END OF DOCUMENT